State of Arkansas

DEPARTMENT OF HUMAN SERVICES

700 South Main Street

P.O. Box 1437 / Slot W345

Little Rock, AR 72203

501-682-6327

ADDENDUM 1

DATE: June 5, 2020

SUBJECT: 0710-20-0040 Optical Services

The following change(s) to the above referenced Invitation for Bid for DHS has been made as designated below:

__X ___ Change of specification(s)

_________ Additional specification(s)

________ Change of bid opening date and time

_________ Cancellation of bid

______X___ Other

BIDS WILL BE ACCEPTED UNTIL THE TIME AND DATE SPECIFIED,

If you have questions, please contact the buyer at Nawania.Williams@dhs.arkansas.gov.  or 501-320-6511.

IFB Page 11, Section 2.1

All lenses must be first quality ophthalmic lenses, plastic or polycarbonate single vision, bifocal, and trifocal lenses and must meet current standards set by the American National Standards Institute (ANSI) Z80.1 (latest version).

IFB Page 12, Section 2.2.A.6.i.

- Average costs price per finished set of glasses

IFB Page 12, Section 2.2.B.1.c.

Prices must include Federal Drug Administration Services heat treatment and/or chemical hardening of all lenses, as required by ANSI and FDA requirements.

IFB Page 12, Section 2.2.B.6.c.

All completed eyeglasses must be shipped to the provider along with a cleaning cloth and a hard/soft carrying case for eyeglass storage (See. Section 2.2.B.3 and Section 2.2.B.4).

IFB Page 15, Section 3.3

C. The Contractor agrees to the Performance-Based Contracting standards as presented in Attachment B, DHS Standard Terms and Conditions as presented in Attachment C, a pro forma contract as presented in Attachment D, the Business Associate Agreement as presented in Attachment E, and the Organizational or Personal Conflict of Interest policy as presented in Attachment F.

Attachment D is removed from this procurement.

IFB PRICE SHEET

SEE UPDATED PRICE SHEET

________________________________________	________________________________

Vendor Signature					Date

______________________________________________________________________________

Company